## Lifetime Generation
Discount rate | 8%
Lifetime | 60 | years
Construction | 5 | years
Energy production per day (Hd) | 10 | hr
Forced outage rate (FOR) | 5%
Scheduled Maintance (Nd) | 20 | days/year
Output Power capacity | 100 | MW
Efficiency (η) | 75%
Availability Factor | 34.1%
Annual Energy Generation (Et) | 298750 | MWh
Annual Energy Required to pump water (Ep) | 398333.3333 | MWh
| n |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59
| Year |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084
| Annual Energy Generation |  | 0 | 0 | 0 | 0 | 0 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750 | 298750
| Discount Factor |  | 1 | 0.92593 | 0.85734 | 0.79383 | 0.73503 | 0.68058 | 0.63017 | 0.58349 | 0.54027 | 0.50025 | 0.46319 | 0.42888 | 0.39711 | 0.3677 | 0.34046 | 0.31524 | 0.29189 | 0.27027 | 0.25025 | 0.23171 | 0.21455 | 0.19866 | 0.18394 | 0.17032 | 0.1577 | 0.14602 | 0.1352 | 0.12519 | 0.11591 | 0.10733 | 0.099377 | 0.092016 | 0.0852 | 0.078889 | 0.073045 | 0.067635 | 0.062625 | 0.057986 | 0.05369 | 0.049713 | 0.046031 | 0.042621 | 0.039464 | 0.036541 | 0.033834 | 0.031328 | 0.029007 | 0.026859 | 0.024869 | 0.023027 | 0.021321 | 0.019742 | 0.01828 | 0.016925 | 0.015672 | 0.014511 | 0.013436 | 0.012441 | 0.011519 | 0.010666
| Discounted Generation |  | 0 | 0 | 0 | 0 | 0 | 438961.7629 | 474078.704 | 512005.0003 | 552965.4003 | 597202.6323 | 644978.8429 | 696577.1504 | 752303.3224 | 812487.5882 | 877486.5952 | 947685.5229 | 1023500.3647 | 1105380.3939 | 1193810.8254 | 1289315.6914 | 1392460.9467 | 1503857.8225 | 1624166.4483 | 1754099.7641 | 1894427.7453 | 2045981.9649 | 2209660.5221 | 2386433.3638 | 2577348.0329 | 2783535.8756 | 3006218.7456 | 3246716.2453 | 3506453.5449 | 3786969.8285 | 4089927.4147 | 4417121.6079 | 4770491.3366 | 5152130.6435 | 5564301.095 | 6009445.1826 | 6490200.7972 | 7009416.8609 | 7570170.2098 | 8175783.8266 | 8829846.5327 | 9536234.2554 | 10299132.9958 | 11123063.6354 | 12012908.7263 | 12973941.4244 | 14011856.7383 | 15132805.2774 | 16343429.6996 | 17650904.0756 | 19062976.4016 | 20588014.5137 | 22235055.6748 | 24013860.1288 | 25934968.9391 | 28009766.4542
| Total Production |  | 0 2025: 372644825.0955; 1 2026: MWh

## Project Lifetime Cost
Capital Investment Cost | 968 | $/kW | source | (EIA 2013)
Loan from Local Bank | 20%
Repaid Year | 10 | years
Annual Interest Rate | 11%
grace Period | 2 | years
commitment fee | 0.5%
Loan from Foreign Bank | 80%
Repaid year | 20 | years
Interest | 6%
Grace Period | 3% | years
Commitment fee | 0.5%
O & M Cost
Annual Fixed Cost | 7.34 | $/kW
Variable cost excluding fuels | 15.44 | $/MWh
Discount Rate | 8%
Excalation Rate (Annually) | 3%
Pumping cost in INR | 1984.0891 | Rs/MWh | average of six cheapest energy cost of a IEX
#VALUE! | 0.01139 | $
Pumping Cost | 22.5988 | $/MWh
Annual Energy Required to pump water (Ep) | 282.4847 | MWh
Annual Pumping Cost | 6383.8079 | $
Total Capital Investment | 968 | $/kW
Plant Size | 100 | MW
Capital Investment | 96800 | $
Loan from Local bank | 19360
Annual Payment for Bank Loan (Local Bank) | 3287.3556
Loan from Foreign bank | 77440 | $
Annual Payment for Bank Loan (Foreign Bank) | 6751.5721
Annual Fixed Cost | 734000
Annual Energy production | 298750 | MWh
Annual Variable Cost | 4612700
Annual Variable cost for 1st year | 5346700
|  |  | n | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59
|  |  | year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084
|  |  | Capital Investment | 0 2025: 96800
|  |  | Loan (Local) | 0 2025: 3287.3556; 1 2026: 3287.3556; 2 2027: 3287.3556; 3 2028: 3287.3556; 4 2029: 3287.3556; 5 2030: 3287.3556; 6 2031: 3287.3556; 7 2032: 3287.3556; 8 2033: 3287.3556; 9 2034: 3287.3556
|  |  | Discounted Cost for Local | 0 2025: 1; 1 2026: 0.9009; 2 2027: 0.81162; 3 2028: 0.73119; 4 2029: 0.65873; 5 2030: 0.59345; 6 2031: 0.53464; 7 2032: 0.48166; 8 2033: 0.43393; 9 2034: 0.39092
|  |  | Loan (Foreign) | 0 2025: 6751.5721; 1 2026: 6751.5721; 2 2027: 6751.5721; 3 2028: 6751.5721; 4 2029: 6751.5721; 5 2030: 6751.5721; 6 2031: 6751.5721; 7 2032: 6751.5721; 8 2033: 6751.5721; 9 2034: 6751.5721; 10 2035: 6751.5721; 11 2036: 6751.5721; 12 2037: 6751.5721; 13 2038: 6751.5721; 14 2039: 6751.5721; 15 2040: 6751.5721; 16 2041: 6751.5721; 17 2042: 6751.5721; 18 2043: 6751.5721; 19 2044: 6751.5721
|  |  | Discounted Cost for Foreign Loan | 0 2025: 1; 1 2026: 0.9434; 2 2027: 0.89; 3 2028: 0.83962; 4 2029: 0.79209; 5 2030: 0.74726; 6 2031: 0.70496; 7 2032: 0.66506; 8 2033: 0.62741; 9 2034: 0.5919; 10 2035: 0.55839; 11 2036: 0.52679; 12 2037: 0.49697; 13 2038: 0.46884; 14 2039: 0.4423; 15 2040: 0.41727; 16 2041: 0.39365; 17 2042: 0.37136; 18 2043: 0.35034; 19 2044: 0.33051
|  |  | O & M Cost |  | 5346700 | 5507101 | 5672314.03 | 5842483.4509 | 6017757.9544 | 6198290.6931 | 6384239.4139 | 6575766.5963 | 6773039.5942 | 6976230.782 | 7185517.7054 | 7401083.2366 | 7623115.7337 | 7851809.2057 | 8087363.4819 | 8329984.3863 | 8579883.9179 | 8837280.4355 | 9102398.8485 | 9375470.814 | 9656734.9384 | 9946436.9866 | 10244830.0962 | 10552174.999 | 10868740.249 | 11194802.4565 | 11530646.5302 | 11876565.9261 | 12232862.9039 | 12599848.791 | 12977844.2547 | 13367179.5824 | 13768194.9698 | 14181240.8189 | 14606678.0435 | 15044878.3848 | 15496224.7363 | 15961111.4784 | 16439944.8228 | 16933143.1675 | 17441137.4625 | 17964371.5864 | 18503302.7339 | 19058401.816 | 19630153.8704 | 20219058.4866 | 20825630.2412 | 21450399.1484 | 22093911.1228 | 22756728.4565 | 23439430.3102 | 24142613.2195 | 24866891.6161 | 25612898.3646 | 26381285.3155 | 27172723.875 | 27987905.5913 | 28827542.759 | 29692369.0418
|  |  | Annual Pumping cost | [6 empty] | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079 | 6383.8079
|  |  | Discount factor | 1 | 1.08 | 1.1664 | 1.2597 | 1.3605 | 1.4693 | 1.5869 | 1.7138 | 1.8509 | 1.999 | 2.1589 | 2.3316 | 2.5182 | 2.7196 | 2.9372 | 3.1722 | 3.4259 | 3.7 | 3.996 | 4.3157 | 4.661 | 5.0338 | 5.4365 | 5.8715 | 6.3412 | 6.8485 | 7.3964 | 7.9881 | 8.6271 | 9.3173 | 10.0627 | 10.8677 | 11.7371 | 12.676 | 13.6901 | 14.7853 | 15.9682 | 17.2456 | 18.6253 | 20.1153 | 21.7245 | 23.4625 | 25.3395 | 27.3666 | 29.556 | 31.9204 | 34.4741 | 37.232 | 40.2106 | 43.4274 | 46.9016 | 50.6537 | 54.706 | 59.0825 | 63.8091 | 68.9139 | 74.427 | 80.3811 | 86.8116 | 93.7565
|  |  | Discounted Cost | 10038.9277 | 4961453.7793 | 4733087.8919 | 4515402.8781 | 4307913.8924 | 4110159.4595 | 3925723.3671 | 3745844.2145 | 3574467.8719 | 3411215.3707 | 3246392.6452 | 3097299.7847 | 2955192.5696 | 2819751.7666 | 2690673.2327 | 2567667.2306 | 2450457.7775 | 2338782.0247 | 2232389.6673 | 2131042.383 | 2012860.0912 | 1919634.0787 | 1830726.9033 | 1745938.4104 | 1665077.7268 | 1587962.8305 | 1514420.1397 | 1444284.1211 | 1377396.9164 | 1313607.9859 | 1252773.7692 | 1194757.3612 | 1139428.2034 | 1086661.7893 | 1036339.3839 | 988347.7558 | 942578.9217 | 898929.9036 | 857302.4959 | 817603.0447 | 779742.2363 | 743634.8962 | 709199.7967 | 676359.4747 | 645040.0564 | 615171.0911 | 586685.3926 | 559518.8881 | 533610.4731 | 508901.8745 | 485337.5192 | 462864.4088 | 441432.0002 | 420992.092 | 401498.716 | 382908.0335 | 365178.2365 | 348269.4541 | 332143.6622 | 316764.5981
|  |  | Total | 0 2025: 100766841.4677

## LCOE
LCOE | 0.27041 | $/MWh

## Sheet1 (hidden)
4 | 1767.0242
13 | 1869.6765
12 | 1947.6928
11 | 1987.4965
15 | 2086.835 | 1984.0891
10 | 2245.8098

## Sheet3 (hidden)
Round Trip Efficiency (η) | 75%
Size of PSH | 100 | MW
Pumping Power | 133.3333 | MW
pumping hour | 6
Energy Required for Pumping | 800 | MWh
Energy Produced during pumping | 600 | MWh

## Pumping (hidden)
Lowest 6 hours | Average Cost (Rs/MWh)
14 | 1767.0242
13 | 1869.6765
12 | 1947.6928
11 | 1987.4965
15 | 2086.835
10 | 2245.8098

## Generation (hidden)
Highest 6 hours | Average Cost (Rs/MWh)
23 | 8744.6274
22 | 8539.4072
21 | 8437.2141
24 | 7853.5436
20 | 7602.7629
1 | 5048.0946